## DataSource
ZONE 1
Category | Item | Description | Source | Comments | Gathered ? | EPM file | Open-data resource
Load | Annual demand forecast | Historical and projected electricity demand (GWh) |  |  | FALSE | load/pDemandForecast.csv
| Hourly demand profile | Typical hourly load curve (8760 hours), for a recent representative year |  |  | FALSE | load/pDemandProfile.csv
Supply | Database for existing/commited/candidate plants | Name, technology, capacity (MW), availability factor, COD, owner, PPA status, CAPEX, fixed and variable O&M, operating constraints |  |  | FALSE | supply/pGenDataCustom.csv
| Fuel prices | For diesel, HFO |  |  | FALSE | supply/pFuelPrice.csv
| Plant availability assumptions | Capacity factors (seasonal) |  |  | FALSE | supply/pAvailabilityCustom.csv
| Storage assumptions | For BESS and PSH: capacity, duration, efficiency, cost assumptions |  |  | FALSE | supply/pStorDataExcel.csv
| PPA and dispatch obligations | Must-run contracts, take-or-pay clauses, or other constraints on dispatch |  |  | FALSE | supply/pAvailabilityCustom.csv
Resources | Hydro generation profiles | Seasonal, monthly or daily generation data for RoR and reservoir plants, and what can be expected for candidates |  |  | FALSE | supply/pGenDataCustom.csv ; supply/pVREProfile.csv
| VRE profile | Hourly solar PV and wind profile |  |  | FALSE | supply/pVREProfile.csv
| Maximum installable capacity by tech | Maximum new hydro, solar, thermal capacity |  |  | FALSE | supply/pAvailabilityCustom.csv
| VRE integration assumptions | Any internal assumptions related to VRE curtailment, variability handling |  |  | FALSE | pSettings.csv
Trade | Cross-border transmission capacity | Existing and planned cross-border interconnectors, including year and MW values |  |  | FALSE | trade/pTransferLimit.csv ; supply/pNewTransmission.csv
| Transmission losses | Cross-border interconnectors losses |  |  | FALSE | trade/pLossFactor.csv
| Trade prices | Import/export prices, with their temporal variability |  |  | FALSE | trade/pTradePrice.csv
| Reserve margin and spinning reserve | Planning reserve margin (%), and how operating reserves are modeled |  |  | FALSE | pSettings.csv
Other | Carbon pricing or limits | If any carbon price or emission constraint is applied in internal planning |  |  | FALSE | pSettings.csv
| Fuel or import limits | Any caps or floors on fuel use or electricity imports |  |  | FALSE | pSettings.csv